## Power for Field Centre
Estimating power requirements for a building
Item |  | Rating, | Ave use when | Number | Time on | Power/ kW |  | Total Energy
|  | Watts | on, Watts | Required | hour/day | Average | Maximum | kWh/day
Lights (tungsten) | tungsten | 60 | 60 |  |  | 0 | 0 | 0
|  | 100 | 100 |  |  | 0 | 0 | 0
Lights | low energy | 20 | 20 |  |  | 0 | 0 | 0
|  | 11 | 11 |  |  | 0 | 0 | 0
Refrigerator | normal | 290 | 31 |  |  | 0 | 0 | 0
| low energy | 80 | 9 |  |  | 0 | 0 | 0
Freezer | normal | 530 | 60 |  |  | 0 | 0 | 0
| low energy | 180 | 21 |  |  | 0 | 0 | 0
Vacuum cleaner | normal | 1000 | 1000 |  |  | 0 | 0 | 0
| low energy | 350 | 350 |  |  | 0 | 0 | 0
Microwave oven |  | 850 | 850 |  |  | 0 | 0 | 0
|  | 600 | 600 |  |  | 0 | 0 | 0
Electric kettle | normal | 3000 | 3000 |  |  | 0 | 0 | 0
| plastic jug | 2000 | 2000 |  |  | 0 | 0 | 0
Toaster | normal | 1350 | 1350 |  |  | 0 | 0 | 0
| low energy | 850 | 850 |  |  | 0 | 0 | 0
Washing machine | normal | 2000 | 375 |  |  | 0 | 0 | 0
| low energy | 1000 | 225 |  |  | 0 | 0 | 0
Tumble drier | normal | 2500 | 2500 |  |  | 0 | 0 | 0
| low energy | 1250 | 1250 |  |  | 0 | 0 | 0
Electric Iron |  | 1250 | 300 |  |  | 0 | 0 | 0
Central heating pump | low | 40 | 10 |  |  | 0 | 0 | 0
| medium | 65 | 30 |  |  | 0 | 0 | 0
| high | 100 | 60 |  |  | 0 | 0 | 0
Colour TV | normal | 150 | 150 |  |  | 0 | 0 | 0
| low energy | 40 | 40 |  |  | 0 | 0 | 0
Hi-Fi |  | 30 | 30 |  |  | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
Other (Write in)
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[6 empty] | 0 | 0 | 0
[5 empty] | Totals | 0 | 0 | 0
Total Annual Energy Usage = |  | 0 | kWh